## Slide 1: The Oscilloscope shows voltage, Waveforms, & Phase shifts

## Slide 2: What is an Oscilloscope?
The oscilloscope is an important piece of test equipment used in the world of electronics.
It provides a visual display of waveforms for measurement and comparison.
  Waveform: a graph of voltage over a certain period of time

## Slide 3: Why Use an Oscilloscope?
To View Waveforms
  What does the shape of the waveform look like?
  A waveform shows the changes in amplitude over a certain amount of time. The amplitude of the signal is measured on the y-axis (vertically), while time is measured on the x-axis (horizontally).
  Typical waveform shapes include the sine wave, sawtooth wave and square wave.

## Slide 4: Viewing Waveforms

## Slide 5: Why Use an Oscilloscope?
To Measure Waveforms
  Amplitude: maximum voltage (high point) of the waveform; sometimes called peak voltage VP; measured in volts (v)
  Peak-to-Peak Voltage: VP-P takes into consideration both the highest and the lowest points of the wave
  Frequency: number of cycles per second; measured in hertz, kilohertz and megahertz

## Slide 6: Measuring Waveforms
Pulse Width: the amount of time the pulse takes to go from low to high and back to low again
Phase Shift: when cycles are out of synch—sometimes on purpose, such as in a 3-phase electrical power transmission system
Duty Cycle: used as a measure of the amount of time a device can operate before it either needs a “rest” or wears out; expressed as a ratio of “on” duty vs. “off “ duty and written as a percentage

## Slide 7: Measuring Waveforms
As seen in waveforms, the value of an AC voltage is continually changing from zero up to the positive peak, down through zero to the negative peak and back to up to zero and the positive peak again.
Therefore, AC voltage spends less time at peak voltage than a calculation using it would show, so this is not a good measure of its real effect.
Substitute the root mean square voltage (VRMS) which is about 0.7 (70%) of the peak voltage (Vp), into equations: VRMS = 0.707 × VP

## Slide 8: Measuring Waveforms
Amplitude

## Slide 9: Measuring Waveforms
Frequency is the number of cycles per second
T = time period in seconds

## Slide 10: Measuring Waveforms
Phase Shift
Note: a full cycle = 360°

## Slide 11: Measuring Waveforms
Phase Shift

## Slide 12: Measuring Waveforms
Duty Cycle

## Slide 13: Measuring Waveforms
Duty Cycle

## Slide 14: Measuring Waveforms
Example

## Slide 15: Measuring Waveforms
Example

## Slide 16: Measuring Waveforms
Example

## Slide 17: Measuring Waveforms
Example
10 Vp or 20 Vp-p Sine Wave @ 500 Hz

## Slide 18: Time for a little review…
Determine the amplitude of the signal
Oscilloscope Settings
100 mV/div, 200 uS/div

## Slide 19: Time for a little review…
Determine the amplitude of the signal
Oscilloscope Settings
100 mV/div, 200 uS/div
Answer:

## Slide 20: Time for a little review…
Determine the Period of the signal
Oscilloscope Settings
5 V/div, 200 uS/div

## Slide 21: Time for a little review…
Determine the Period of the signal
Oscilloscope Settings
5 V/div, 200 uS/div
Answer:

## Slide 22: Time for a little review…
Determine the Frequency of the signal
Oscilloscope Settings
5 V/div, 200 uS/div

## Slide 23: Time for a little review…
Determine the Frequency of the signal
Oscilloscope Settings
5 V/div, 200 uS/div

## Slide 24: Time for a little review…
Determine the amplitude of the signal
Oscilloscope Settings
2 V/div, 500 uS/div

## Slide 25: Time for a little review…
Determine the amplitude of the signal
Oscilloscope Settings
2 V/div, 500 uS/div
Answer:

## Slide 26: Time for a little review…
Determine the Period of the signal
Oscilloscope Settings
2 V/div, 500 uS/div

## Slide 27: Time for a little review…
Determine the Period of the signal
Oscilloscope Settings
2 V/div, 500 uS/div
Answer:

## Slide 28: Time for a little review…
Determine the Frequency of the signal
Oscilloscope Settings
2 V/div, 500 uS/div

## Slide 29: Time for a little review…
Determine the Frequency of the signal
Oscilloscope Settings
2 V/div, 500 uS/div
Answer:

## Slide 30: Time for a little review…
Determine the amplitude of the signal
Oscilloscope Settings
1 V/div, 2 mS/div

## Slide 31: Time for a little review…
Determine the amplitude of the signal
Oscilloscope Settings
1 V/div, 2 mS/div
Answer:

## Slide 32: Time for a little review…
Determine the Period of the signal
Oscilloscope Settings
1 V/div, 2 mS/div

## Slide 33: Time for a little review…
Determine the Period of the signal
Oscilloscope Settings
1 V/div, 2 mS/div
Answer:

## Slide 34: Time for a little review…
Determine the Frequency of the signal
Oscilloscope Settings
1 V/div, 2 mS/div

## Slide 35: Time for a little review…
Determine the Frequency of the signal
Oscilloscope Settings
1 V/div, 2 mS/div
Answer:

## Slide 36: Time for a little review…
Determine the Phase Shift of the signal

## Slide 37: Time for a little review…
Determine the Phase Shift of the signal
Answer:

## Slide 38: Time for a little review…
Determine the Duty Cycle of the signal
Oscilloscope Settings
1 V/div, 2 mS/div

## Slide 39: Time for a little review…
Determine the Duty Cycle of the signal
Oscilloscope Settings
1 V/div, 2 mS/div
Answer:

## Slide 40: How do you get the signal from the source into the oscilloscope?
An oscilloscope probe is used to connect the oscilloscope input to the signal source.
The probe provides a high input impedance, proper shielding from noise, and capacitive correction.

## Slide 41: The Oscilloscope Probe
The larger the signal, the greater the level of attenuation required.
Attenuation: A decrease in signal amplitude during its transmission from one point to another.
Scope probes are available with many levels of attenuation:
  1X
  10X
  100X
  1000X

## Slide 42: A Typical Oscilloscope Probe

## Slide 43: The Oscilloscope Probe
Recall that impedance is opposition to current flow in an alternating current circuit. It is made up Resistance (R) + Reactance (X).
The probe provides a high input impedance, proper shielding from noise, and capacitive correction.
Ground clip should be used to help reduce “electrical noise” on the signal.

## Slide 44: The Oscilloscope Probe
Correct Form Over Compensated Under Compensated

## Slide 45: The Oscilloscope Probe Review
The oscilloscope is an important piece of test equipment used in the world of electronics.
The oscilloscope probe brings the signal into the oscilloscope, while keeping signal degradation at a minimum.

## Slide 46: For More Information
XYZs of Oscilloscopes http://www.tek.com/learning/oscilloscope-tutorial/
Oscilloscope Tutorial video http://www.youtube.com/watch?v=MmU9kRMDURw&feature=related
Single Phase Power vs. Three Phase Power http://electrical-engineering-portal.com/single-phase-power-vs-three-phase-power