## Slide 1: What is the Smart Grid?

## Slide 2: The Smart Grid is…
The systematic modernization of a very old electric power transmission system
A change from entirely producer-controlled to a more system responsive and customer-driven model

## Slide 3: Why do we need it?
Since 1982, growth in peak demand for electricity—driven by population growth, bigger houses, bigger TVs, more air conditioners and more computers—has exceeded transmission growth by almost 25% every year.
The Smart Grid: An Introduction, U.S. DOE

## Slide 4: Why do we need it?
Transmission and distribution losses are related to how heavily the system is loaded. U.S.-wide transmission and distribution losses were about 5% in 1970, and grew to 9.5% in 2001, due to heavier utilization and more frequent congestion. Congested transmission paths, or “bottlenecks,” now affect many parts of the grid across the country.
SmartGrid 2030, U.S. DOE

## Slide 5: Why do we need it?
Power outages cost the economy from $25 to $180 billion annually. These costs could soar if outages or disturbances become more frequent or longer in duration. There are also operational problems in maintaining voltage levels.
SmartGrid 2030, U.S. DOE

## Slide 6: Why do we need it?
The average outage affected 15% more customers in 1996-2000 than it did during 1991-1995.
In many areas of the U.S., the only way the local utility company knows there is a power outage is when a customer phones them to report it
The Smart Grid: An Introduction, U.S. DOE

## Slide 7: Why do we need it?
The grid system of the 1900s was not designed to address:
  Energy efficiency
  Environmental impacts
  Direct customer choice and interaction with the system
  Security of the system

## Slide 8: And it’s the law…
The Federal Energy Independence and Security Act (EISA) of 2007
It is the policy of the United States to support the modernization of the Nation’s electricity transmission and distribution system to maintain a reliable and secure electricity infrastructure that can meet future demand growth…
Public Law 110-140, Dec. 19, 2007

## Slide 9: and to achieve each of the following, which together characterize a Smart Grid:
Increased use of digital information and controls technology to improve reliability, security and efficiency of the grid
The ability to detect, prevent, respond to, or recover from system security threats, including cyber-security threats and terrorism using digital information, media, and devices

## Slide 10: More characteristics of the Smart Grid as outlined by the 2007 Act
The ability to connect and use electricity generated from many small producers (decentralization) as opposed to few large producers (centralization)
Integration of renewable resources
Use of advanced electricity storage technologies

## Slide 11: And also what most people think of when they hear the term Smart Grid
Deployment of smart technologies (real-time, automated, interactive technologies that optimize the operation of appliances and consumer devices) for metering concerning grid operations and status, and distribution automation
Public Law 110-140, Dec. 19, 2007

## Slide 12: The world is converting to smart grid technologies
Denmark has decentralized its power plants and incorporated wind power to meet its electricity needs.
China plans to turn its present grid into a smart grid by 2020.
Boulder, Colorado, is becoming the first full U.S. smart grid city — allowing homeowners to monitor how much power they use and to feed power back into the grid through solar rooftops panels.
Malta has invested 70 million Euros to upgrade its electric and water utility systems with smart-grid technology
Europe, Canada, Holland and many other nations are also upgrading their grids.
“The Smart Grid Revolution, U.S. Department of State

## Slide 13: Grid Simulator
http://tcip.mste.illinois.edu/applet2.php

## Slide 14: For More Information
The Smart Grid: An Introduction http://www.smartgrid.gov/sites/default/files/pdfs/sg_introduction.pdf
Plug Into the Smart Grid http://ge.ecomagination.com/smartgrid/
Modern Grid Benefits http://www.netl.doe.gov/smartgrid/referenceshelf/whitepapers/Modern%20Grid%20Benefits_Final_v1_0.pdf
Smart Grid http://www.oe.energy.gov/smartgrid.htm